	
	

	
	Magnification:
	
	
	

	
	· Magnifying/Focusing 
	
	
	
	

	
	· Figuring Total Magnification 
	
	
	
	

	
	Magnifying Objects/ Focusing Image:
	
	

	
	1. When viewing a slide through the microscope make sure that the stage is all the way down and the 4X scanning objective is locked into place. 

2. Place the slide that you want to view over the aperture and gently move the stage clips over top of the slide to hold it into place. 

3. Beginning with the 4X objective, looking through the eyepiece making sure to keep both eyes open (if you have trouble cover one eye with your hand) slowly move the stage upward using the coarse adjustment knob until the image becomes clear. This is the only time in the process that you will need to use the coarse adjustment knob. The microscopes that you will be using are parfocal, meaning that the image does not need to be radically focused when changing the magnification. 

4. To magnify the image to the next level rotate the nosepiece to the 10X objective. While looking through the eyepiece focus the image into view using only the fine adjustment knob, this should only take a slight turn of the fine adjustment knob to complete this task. 

5. To magnify the image to the next level rotate the nosepiece to the 40X objective. While looking through the eyepiece focus the image into view using only the fine adjustment knob, this should only take a slight turn of the fine adjustment knob to complete this task. 
	
	

	
	Total Magnification:
	
	

	
	To figure the total magnification of an image that you are viewing through the microscope is really quite simple. To get the total magnification take the power of the objective (4X, 10X, 40x) and multiply by the power of the eyepiece, usually 10X.
	
	

	
	[image: image1.jpg]10X Objective 10X Eyepiece

40X Objective 10X Eyepiece




	
	

	
	
	(Click Here To See Image)
	
	

	
	
	(Click Here To See Image)
	
	

	
	
	(Click Here To See Image)
	
	

	
	
Return To Top of Page
 
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	


 

	
Microscope Main Page
 
	
Compound Light Microscope
 
	
Activities for Microscope
 

	
Magnification
 
	
History of Microscope
 
	
Types of Microscopes
 

	
Parts of Compound Microscope
 
	
Care of the Microscope
 
	
Compound Microscope Usage
 

	
Using the Microscope
 
	Web Micro 2001
	Parts Self-Test


